## 2014 HEAPR Request due 1-25-13
Requested in 2013 (y/n) | Institution | Campus | Institution Priority | Building Name or Project Location | Project Title | 2012 FCI |  | Total Project Request | Total Project Request Detail | [9 empty] | Will Project reduce energy usage? | Explain WHY Project is needed | Explain consequences: WHAT WILL HAPPEN if the project is NOT funded? | Engineering Predesign Study Required if over $1 million, is highly complex or impacts muiltiple systems (roof, HVAC, etc) | Consultant Firm Name | Consultant Contact | Phone # or email of Consultant Firm name | Comment | Satisfies PBEEEB recommendation
[9 empty] | Roof Repairs/ Replacement | HVAC Heating Ventilation Air Conditioning | Exterior walls/ windows/ doors | Building Interior | Plumbing | Electrical | Life Safety Codes | Fire Safety | Site work | Utility Infrastructure
[6 empty] | Current | After Project Completion
N | Minnesota West | All Campuses | 12 | All buildings | Arc Flash evaluation and signage | NA | NA | 30000 | [5 empty] | X | X |  |  |  | N | Electrical panels that exceed 240 Volts need to be evaluated and correct warning signage installed | Campuses risk being cited for non-compliance
N | Minnesota West | Canby | 13 | Englund Hall | Replace entry door systems on Englund Hall |  |  | 75000 |  |  | X | [7 empty] | Y | 3 existing door systems are original to construction in the 1960s. They are not energy efficient have reached life cycle | Continued higher energy and maintenance costs
N | Minnesota West | Jackson | 14 | Main building | Demo Special Needs wing | 0 | 0 | 0 | [8 empty] | X |  | Y | IF the 2014 Classroom Initiative to relocate the campus ITV classrooms is successful, this wing of the existing main building will be surplus space. Our campus right-sizing plan would call for this space to be leased to others or demo'ed
N | Minnesota West | Granite Falls | 15 | Main Building | Steam Boiler replacement and Associated HVAC equipement | 0.05 | 0.03 | 600000 |  | X | [8 empty] | Y | the steam boiler system is near the end of the life cycle. This system is inefficient to operate and will create increasing maintenance costs. | higher than necessary utility and maintenance costs.
N | Minnesota West | Canby | 16 | Technology Building 1 | Roof replacement |  |  | 200000 | X | [9 empty] | Y | The metal roof on this structure is nearing the end of the life cycle and needs to be replaced with a new standing seem metal roof. This will also allow for increased insulation. | Risk of developing leaks
N | Minnesota West | Canby | 17 | Technology Building 2 | Roof Replacment |  |  | 200000 | X | [9 empty] | Y | The metal roof on this structure is nearing the end of the life cycle and needs to be replaced with a new standing seem metal roof. This will also allow for increased insulation. | Risk of developing leaks
N | Minnesota West | Canby | 18 | Technology Building 4 | Roof Replacement |  |  | 200000 | X | [9 empty] | Y | The metal roof on this structure is nearing the end of the life cycle and needs to be replaced with a new standing seem metal roof. This will also allow for increased insulation. | Risk of developing leaks
N | Minnesota West | Worthington | 19 | Classroom/Admin Bldg. | Exterior door system replacement on Cafeteria |  |  | 60000 | [10 empty] | Y | the metal doors at the exterior point of entery to the cafeteria and Classroom/Admin. Building have reached the end of the life cycle. They are becoming a maintenance problem and are no longer as energy efficinet as new systems. | Continued energy loss and maintence costs
N | Minnesota West | Worthington | 20 | Link | Extend the Link Hall system to connect Classroom/Admin. Bldg to the Center for health and Wellness |  |  | ? | [8 empty] | X |  | Y | The Center for Health and Wellness is the only building on campus not linked by enclosed hall way system known as the Link.
N | Minnesota West | Canby | 21 | Technology Building #3 | Demo technology Building #3 |  |  | ? | [8 empty] | X |  | Y | Technology Building #3. is reaching the end of the life cycle. The college has determined that it will not play an active role in the future of the Canby Campus. Our campus Right-sizing plan would conclude this building should be removed from the campus
N | Minnesota West | All campuses | 22 | All buildings | Roof Fall Protection |  |  | 35000 | [6 empty] | X |  |  |  | N | OSHA regulation requires that workers on roofs or systems installed on roofs must be protected from the potential of falls from the edge of the roof. This will require engineering fall restraint systems at each campus building. | risk of being cited for non-compliance.
[5 empty] | Institution Total |  | 0.03